ESCI-61 Final Project

Designing PV system for Chris’ House

Spring 2010

3:30 – 6:15 PM

Ridha Hamidi, Bill Roeder
[image: image1.wmf]
Andy Chuang

Ayako Hirokawa

Chris Choi

Yu-Jeng (Dennis) Pan
Index



Section                                                                                  page

1. Performance of Chris’ PV system



3 – 4 

2. Sun Resources






5

3. Site evaluation






6

4a. Design and Sizing PV system (I)



7

4b. Design and Sizing PV system (II)



8 – 10

5. Cost of Chris’ PV system




11 – 13

Chris’ PV System Summary




14

Work Cited







15

1. Performance of Chris’ PV system

[image: image2.jpg]Pacific Gas and
Electric Company

GET HELP | LOGOUT

My Account
JOHN K CHOI

+ Billing Account: 01341521

My Account + Usage History

Usage History

Click on tabs to view detailed history of usage, costs and charges for up

Engl t024 months, and compare usage and costs by billing cycle.

-+ Energy Tips and .
Rebates Account Summary  BosicSummary  Usage  Costs

~ My Profile

RCEcom Home Account: 0184152145 View Page

Gas Usage | Gas Charges | Total Charges

Bl Date + (Therms) © © Actions
+ My Profile
e mione s/142010 sir248 2699 $19945  Compare
anspony 2 ste113 20 si968 523081 | Compare
antezotg 1,030 s234 640 ss7.00 $543  Compare
"+ My Profile 21122010 089 s23078 820 s11405 534484 | Compare
T —— 113010 = o187 1010 sti794 32981 Compare
12142009 est s17276 1030 s12040 529316 Compare
1122000 70 s1920 200 2234 S16154  Compare
10132008 i siz792 120 si2e2 $14054 | Compare
MR a/14p009 806 s1s488 100 st049 $16537  Compare
~ PGE.com Home ananon ) stz 100 s1080 S15791  Compare
52008 &0 si0z9 a0 sos7 $13046  Compare
My Profile aneR00 520783 190 siges 522652 Compare
Py s/14p009 210 2115 $18698  Compare
anspon 410 st4s8 519819 Compare
anten00g 580 s11s75 S28873 | Compare
21122009 804 70 s12040 530600 Compare
1132009 986 1330 stes22 36619 Compare
12152008 1020 70 sea6t 530218 Compare
1122008 a0 20 s07 S20329  Compare
10132008 754 130 si818 $14545  Compare
9142008 o8 120 stos7 $17959  Compare
anan0ns 809 150 2918 $17934  Compare
S0 a0 150 8% S16753  Compare
enzz0 ess 140 52309 512835

closure | Technical Support
Copyright © 2010 Ackra Software, nc. AllRights Reserved.




The average electricity usage of the Choi Family house:

The annual average electricity usage is 10,151.4 kWh / year.  

The average monthly electricity use is 845.95 KWh / Month. 

The average daily electricity use is 27.8 kWh / Day.

After energy efficiency measures:

To reduce the Chris’ energy loads we will eliminate phantom loads by utilizing power strips to turn off when not in use, and replace old bulbs with CFLs.  This way, we can reduce the family’s daily electricity load to 25 kWh / Day.  This will result in 9,125 kWh / year, 760kWh/month.

How much electricity do we want to generate per year from the PV System?

Chris’ electric bill is $2028.50, and they think this is way too expensive!  Thus, Chris wants to cut their annual electric bill by around 80%, so she wants 80% of her electricity to be generated by her PV system.  In other words, she wants her future PV system to generate at least 7,300 kWh / year, which is 80% of 9,125 kWh / year.
2. Sun Resources

Using http://www1.solmetric.com/tools/RoofAzimTool.htm, we determine for Chris’ house, the roof angle is 30o, and the azimuth angle of her roof is 180o due south.

After doing this, we go to http://www1.solmetric.com/cgi/insolation_lookup/go.cgi to help determine the average “sun hours/day” in the area of Chris’ house.  Since her house is in the city of San Jose, we select “SAN JOSE INTL AP“ from a list of weather stations.  Below is the screenshot of the result:


[image: image3.png]hitp:iwwwt solmetric comicgifinsolation_lookuplookup.cgi

B olmetric

Annual Insolation s a Function of Panel Orientation
Location: SAN JOSE INTL AP, CA  Optimal Tit=32°, Azimuth=183°, Insolation=2066 k/h/m?
Station ID: 724945, Latitude: N 37.37, Longtude: W 121.93 e
o 100% (2066)
75- 99% (2045)
= 95% (1962)
G0% 90% (1859)
245 85% (1756)
80% (1652)
75% (1549)
70% (1446)
0z 65% (1342)
o b 60% (1239)
90° 105° 120° 135° 150° 165° 180° 195° 210° 225° 240° 255° 270° 55% (1136)

Aamuth
! © 2008 Solmetric Corporation 50% (1033)

Enter panel orientation to display annual insolation and TOF
i) [30 | Azimutn ) [180 | [Calcuiate |
AtTilt: 30 © and Azimuth: 180 °, Annual Insolation: 2065 kiWhim? (TOF: 100.0%)





http://www1.solmetric.com/cgi/insolation_lookup/lookup.cgi
The annual insolation near Chris’ residence is 2065 kWh/m2/year with TOF = 100%.  In other words, the “PV module tilt and orientation” derate factor is 1, and the annual insolation is 2065 sun hours / year.  Divide the annual insolation by 365 days, we got 5.66 sun hours / day.

3. Site evaluation

Address of Chris’ residence:

6614 Mount Royal Dr. San Jose, CA 95120

Satellite picture of Chris’ house:

[image: image4.jpg]httpiforww.roofray. com/caleulatort

m ROOF RAY Existing users Log In New users Sign Up

what's your solar potential?

Home | Get Solar Estimate | _Created RoofRays | Solar Guide | Widget | Mass Modeling |

Address: [6614 Mt Royal Dr, San Jose, CA 95120, USA

1 Create Solar Array

How-to Create Your First Array

1. Locate Your Property
> Use the Address Search above
> Then drag the map and zoom in/out until you're above the

property

Click Corners of Roof
> Click a point to create the first corner.
> Continue to dlick other corners to form

your array
> When finished, re-click the first corner

to close it off.

3. Determine Orientation
> Drag the end of the red slope line to the bottom of the roof.
(For flat roofs - leave at due south)

Select Roof Pitch or Tilt
> Guesstimate your pitch using the slider - mid 20 degrees in

typical

2%

Make a mistake? No problem...

1| Remove Last Point G start over
(ot potsinli] I powes pereutis e [oresins e [ totalpesk piwenie ivcietas] Bcakutiagl
e 12.05 Watts DC 327Sq.Ft  180°(5) 3949.49 Watts DC

I 12.05 Watts DC sssar 180005 5042.22 Watts oC

About Us | News Room | Terms of Use | Privacy Policy |

Comments and feedback - please email info(at)roofray.com

Copyriaht © 2010 RoofRay, All Riahts Reservedd




Roof condition of Chris’ house:

Composite Roof, Installed 5years ago.  There are two accessible roof areas.  The one on the west side is 327 sq. ft. with a 180 degree orientation and 24 degree tilt.  The east side roof has 418 sq ft and also 180 degree orientation and 24 degree tilt.

Shading analysis:

There is a tree on the south east side of the house which is bout 4 feet high from the roof and it would interfere with the collection of solar power on the east side, so we will construct on the west side roof.

Location of utility meter and main panel:

The utility meter and main panel are on the north side of the house.

4a. Design and Sizing PV system (I)

	PV module tilt and orientation derate factor 


	For Chris’ home in San Jose, the derate factor is TOF = 100%.  So, the PV module tilt and orientation derate factor = 1.

	Sun hours per day


	5.66 sun hours / day

	AC power of Chris’ PV system

If provide 100% of electricity needs for her house


	To calculate the AC power of her PV system, use the following equation:
Power = Energy / Time


Energy = daily average energy 

                consumption kWh / day

Time =  “Sun hours / day” or 

              kWh/m2/day 

Power = Power of PV system
For her home in San Jose:    

Time = 5.66 sun hours/day     

Energy = (25 kWh / day) 

Now solve for Power:

Power = Energy / Time  

Power = (25 kWh / day) / (5.66 sun hours / day)

Power = 4.41 kW
The AC power of Chris’ PV system should be at least 4.41 kW, if the PV system provides 100% of electricity needs for her house.



	AC power of Chris’ PV system 

If provide 80% of electricity needs for 

her house
	Chris want to cut her annual electricity bill by around 80%, so she wants 80% of her electricity to be generated by her PV system.  So multiply 4.41 kW with 80%, and the AC power of Chris’ PV system should be 3.528 kW.

The AC power of Chris’ PV system should be at least 3.528 kW.


4b. Design and Sizing PV system (II)

[Step1 – record high and low temperature]

Before using http://www.pvselect.com/index.php#sizer to help select inverters, PV modules, and number of strings for the PV system, the team needs to get the record high and low temperature of Chris’ residence.

In 95120 at San Jose, the zip code of Chris’ residence, average high temperature is 109 oF and raverage low temperature is 20 oF.  Below is a screenshot of weather.com on temperatures in 95120.

[image: image5.png]Monthly Averages for Weather for your life
San Jose, CA (35120) B ——
o et =

Temperature (°F)
M Avatiah V] Record High
v Avalow VM Record Low

e T

[ ___an [Feo [ war [ Ape [May [ un [t [Aug [ep [ Ot Tov [ouc

oF





http://www.weather.com/outlook/health/allergies/wxclimatology/monthly/graph/95120?role=
[Step 2 – Modules, inverters, string, square footage]

AC power of PV system

From previous results, we determine that the AC power of Chris’ PV system should be at least 

3.528 kW, or 3528 watts.

Modules

Since we want to minimize the number of modules for Chris’ PV systems, we determine it is best to have each module to have a power rating of between 200 watts and 300 watts.  After trial and error on www.pvselect.com/index.php#sizer, we selected ET-P672270 modules from ET solar, with each module having a rating of 270 watts.   

Divide 3528 watts by 270 watts, we got 13.07 panels – we round that up to be 14 modules.  Thus, the combined power rating of Chris’ PV system should be 3.78 kW – calculated from multiplying 

(270 watts / modules) with (14 modules).  

Inverter + derate factor

Since Chris’ PV system so far will have a combined power rating of 3.78 kW or 3780 watts, we might need an Inverter with a 25Co power rating of around 4000 watts.  The team then on www.pvselect.com/index.php#sizer selects IG 4000 (240) inverter from Fronius, in which the power rating at 25Co is 4000 watts.

The CEC efficiency of the inverter is 94%.  So the CEC inverter derate factor is 0.94. 

String Number

At “Results” of the screenshot below, by looking at the wattages of the PV system under 3 derate factors (STC, PTC, CEC), we decide her PV system should be a 2 string system with 7 PV modules / string. 

So, Chris’ PV system should be a 2-string system with a total of 14 PV modules.


[image: image6.png]Configuration Options Results

Please choose the array operating temperatures, inverter make: View the restits here.
and model, and module make and model below.

o 0
Moduies Motdules Modules Moduies Modules|
st das0 | 5670 | o4s0 | 7200 | 8100

e ECs 3 strings, PTC 4270 | 4081 | 5693 | 404 | 7116

SeleaEules e iEp CEC 4013 | 4682 | 5351 | 6020 | 6689

Select Highest Ambient Temp st so40 | 3780 | 4320 | 480 | 5400
2stings r1c 2ut6 | 3321 | 3705 | 4270 | aras

ceC 2676 | 3122 | 3567 | 4013 | 4458

Wonutacurer st G620 | 1800 | 2150 | 2430 | 2700

= 1string PTC 1423 | 1650 | 1808 | 2135 | 2372

o i G756 T ceo 1335 | 1561 | 1784 | 2007 | 2230

Hax DC Input Curtent 21 A — -

Maximum Input DC Voltage 500 v Modules Modules Modules Modules Modules|

inimum Peak Power Tracking 150 v _—

— o - =T 25081 | 34151 | 39042 | 43022 aas 02
Hinvmp

SarBeno 1520018 | 2878 | a7 | 2557

T

oxPower Vltage YR

Open Circuit Voltage: 436 v (May require configuring your printer for best output)

Votage Temp Coell o v

NominelPower Raing ) w

ox Power Curent T2 A

Curtent Temp Coef sos o

PTC Power Rating 2372 w



 http://www.pvselect.com/index.php#sizer
Square-footage occupied by PV

For Chris’ house, west side roof is 327 sq. ft, and east side roof is 418 sq ft.


[image: image7.png]



http://www.roofray.com/calculator#
As for the dimension, each ET-P672270 module is 77in by 39.1in, or 20.9 sq. ft in area, according to

http://www.solardesigntool.com/components/module-panel-solar/ET%20Solar%20Group%20/ET-P672270/specification-data-sheet.html;jsessionid=F7B68448267A02050642254247395214
Since Chris’ 2-string system will have 14 of the ET-P672270 PV modules, the PV system will occupy an area of 292.6 sq. ft (14 * 20.9 sq. ft).  To avoid shading from the tree at the south east side of the house, the best configuration is putting all 14 modules on the west side roof with 327 sq. ft in area.


Derate Factors

· As we try to know the sun resources using http://www1.solmetric.com/cgi/insolation_lookup/lookup.cgi, 

we found for Chris’ house, the “PV module and tilt” derate factor is 1.

· For the inverter model we selected, the CEC inverter derate factor is 0.94.

PV system Specification

· Use an IG 4000 240v inverter from Fronius for Chris’ PV system, which has a “Power Rating 

@ 25C” rating of 4000 watts.

· It is a 2-string system with 7 PV modules/string by ET solar – a total of 14 PV modules. The 

modules are ET-P672270 modules, with 270 watts/module.

· Chris’ PV system’s power rating is 3.78 kW (2-strings * 7 modules/string * 270 watts/module), 

to compensate for all the derate factors under STC, PTC, and CEC that can decrease PV power 

production.

· Chris’ PV system occupies 292.6 sq. ft on the roof. To avoid shading from the tree at the south 

east side of the house, the best configuration is putting all 14 modules on the west side roof 

with 327 sq. ft in area.  

5. Cost of Chris’ PV system

	14 PV 

modules
	From http://www.altersystems.com/catalog/et-solar-200-watt-solar-panel-etp654200-p-2148.html, each ET-P654200 PV module costs $620 with a power rating of 200 watts.  Also, from http://www.thefind.com/search?query=ET-solar, each ET Solar 170 watts PV module costs $520.

The ET-P654200 module costs $3.1/watt ($620 / 200 watts), and the ET Solar’s 170 watts module also costs $3.1/watt ($520 / 170 watts).  Based on this, the ET-P672270 module with a power rating of 270 watts costs $837 / module ($3.1 / module * 270 watts).  Multiply 14 modules with $837 / module, and the total cost of the 14 “ET-P672270” modules is $11718. 

Cost of 14 “ET-P672270” modules  = $11718



	Inverter
	From http://www.ecodirect.com/ProductDetails.asp?ProductCode=Fronius-IG-4000&site=google_base, the price of the Fronius IG4000 inverter cost about $2400.

Cost of “Fronius IG4000” inverter = $2400



	Labor


	Labor cost for PV installation:

1.) Installing rack on the roof.

2.) Bolting PV to the rack.

3.) Installing inverter.  (Hang inverters on the walls, conduit to PV and to Load Panel).

4.) Wiring: Combining junction boxes, fuses, and connections to inverter.

5.) Inspections of fire protection, building, electrical and utility before finalizing the installation. 

According to http://www.solarpowerforum.net/forumVB/showthread.php?t=2818, The labor rate is between $1/Watt and $1.25/Watt.  So, If we hire workers to install the 3780-Watts PV system for Chris’ house, the cost is between $3780 and $4725.

Best Case cost of labor = $3780

Worst Case cost of labor =$4725

	City Permit and

Inspection
	According to http://calseia.org/local-permits.html, permit fees for PV system in the City of 

San Jose is about $236.  Also, the inspection cost is included in the permit fees.

Permit fees for PV system in the city of San Jose = $236

	Balance

of system
	Chris’ PV has a power rating of 3.78 kW, or 3780 watts

Balance of System cost:

Racking cost + Miscellaneous cost 

= (3780 watts * $0.45/Watt) + (3780 watts * $0.15/Watt)

= $2268

Balance of System cost = $2268




	California Solar Initiative rebate


	According to http://www.gosolarcalifornia.org/csi/rebates.html, under California Solar Initiative or CSI, if one owns a PV system of less than 50kW, one may apply for a cash rebate under EPBB or “Expected Performance Based Buydown.”  Since Chris’ PV system is only 3.78 kW, she can get the CSI rebate from her utility compnay, and Chris herself uses http://www.csi-epbb.com/default.aspx to calculate the rebate.

[image: image8.png]a,Solar Initigtive

Incentive Calculator - Current Standard PV

cometer
Sstanable Encrgy

SaveszaPoF
Propsed
Sie Specifiations:
Prject ame e814 M Royal O
2P cote o120
cy Sonsose
wiy Pose
Customer Type Residenta
incenie Tyoe =
PV System Specifiations:
U hiode £ Soiar ncusiryET.PE72270
2700 STC, 23720 PTG, 294 2W PTG '
Narmber o Moo “
Mouning Metros >1"103" average sandoft
00 Rating (4 STO) aze0
00 Rating (4 PTO) as08
e Fronus USAIG 4000 NEG
Namoer of nverers '
Incere fiiany (%) 00%
Shading Ml Shading
Aray Tt (degrees) S
Ay A (degress) 150 True North 0
Optmal i (roposed azimut) 2
Opiimai T facig South) 2
Resuts
e a7 @)
atoptmal e saise)
fcing south st cptmal it aatse)
Summer Montrs Vey-Ociter
Summer ki 2470
atoptmale a2
fcing south st cptmal it a280(g)
CecACRating a1z
Desgn Comeston? casoss
Gecoraphi Comestion® sa700m
Insatation Corration’ ca7sen
Design Facter® saserss
csiRsting? a01ziw
ncentive Rate sossmate
incentive” st

Report Generated on 8152010 12:-17:48 AM




    http://www.csi-epbb.com/default.aspx
Under STC, Chris’ PV system is 3.78kW.  But under CSI rating, Chris’ PV system is only 3.012 kW, and CSI requires PG&E to pays rebates according to CSI rating of one’s PV system.  Currently, the incentive rate is $0.65/Watt, and a CSI power rating of 3.012kW will give Chris a $1958 incentive rebates ($1958 = 3012 Watts * $0.65/Watt).

So PG&E will pay an incentive rebate of $1958 for Chris’ 3.78 kW PV system.




	Federal Tax Credit Incentive


	The Net cost after CSI rebate:

post CSI net cost low estimate




 

= (14 PV modules + inverter + labor best case + city permit + balance of system) – CSI rebate



= ($11718 + $2400 + $3780 + $236 + $2268) – $1958

= $18444


post CSI net cost high estimate




 

= (14 PV modules + inverter + labor worst case + city permit + balance of system) – CSI rebate

= ($11718 + $2400 + $4725 + $236 + $2268) – $1958

= $19389

According to http://blogs.consumerreports.org/home/2008/12/energy-credits.html, an owner of a PV system can get a 30% tax credit.   The “post CSI net cost low estimate” is $18444, and in this case she can get a $5533.2 federal tax credit ($18444 multiply by 30%).  The “post CSI net cost high estimate” is $19389, and in this case she can get a $5816.7 federal tax credit ($19389 multiply by 30%).

Low estimate of Federal Tax Credit = $5533.20

High estimate of Federal Tax Credit = $5816.70




[Net Cost]

Net cost low estimate

= post CSI net cost low estimate – low estimate of federal tax credit 

= $18444 – $5533.20 = $12910.80

Net cost high estimate

= post CSI net cost high estimate – high estimate of Fed tax credit 

= $19389 – $5816.70 = $13572.30

Net up-front cost of Chris’ PV system could be between $12910.8 and $13572.3

Chris’ PV System Summary

PV Modules

14 of the ET-P672270 PV modules, with 270 watts/module

Inverter Model

Fronius IG 4000 240v inverter, with a “Power Rating @ 25C” rating of 4000 watts.

String Number

A 2-strings system with 7 PV modules/string

PV power rating

The power rating of Chris’ PV system is 3.78 kW under STC and 3.012 kW Under CSI
PV square footage

Chris’ PV system occupies 292.6 sq. ft on the roof  

Net-Cost

For Chris’ PV system, the net up-front cost is between $12910.8 and $13572.3
Work Cited

Online tools

http://www.pvselect.com/index.php#sizer
http://www1.solmetric.com/tools/RoofAzimTool.htm
http://www.roofray.com/calculator#
http://www1.solmetric.com/cgi/insolation_lookup/go.cgi 

http://www.csi-epbb.com/default.aspx
Temperatures of San Jose

http://www.weather.com/outlook/health/allergies/wxclimatology/monthly/graph/95120?role=
PV system hardware specifications and costs

http://www.solardesigntool.com/components/module-panel-solar/ET%20Solar%20Group%20/ET-P672270/specification-data-sheet.html;jsessionid=F7B68448267A02050642254247395214
http://www.altersystems.com/catalog/et-solar-200-watt-solar-panel-etp654200-p-2148.html
http://www.thefind.com/search?query=ET-solar
http://www.ecodirect.com/ProductDetails.asp?ProductCode=Fronius-IG-4000&site=google_base
Other PV system costs

http://www.solarpowerforum.net/forumVB/showthread.php?t=2818
http://calseia.org/local-permits.html
Rebates and incentives

http://www.gosolarcalifornia.org/csi/rebates.html
http://blogs.consumerreports.org/home/2008/12/energy-credits.html






PAGE  
1

_1337701917

_1337749935

_1337697361

